Huairou Solar Observatory Station

1.INTRODUCTION

Huairou Solar Observing Station (HSOS) is located on an small island near the north bank of Huairou Reservoir, 60 kms north of the downtown of Beijing. The water surrounded the station extend about 2 kms to the east, south and west of the observing tower. The observing dome is on the top of a 31-meter-high tower. The HSOS's telescope is characterized by its movable dome, which can be shifted away from the telescope when the seeing is favorable. The surrounding water reduces the temperature fluctuation at the telescope height, which is favorable for high resolution solar observing. The annual observation days are about 300.

- Latitude: 40.4N

- Longitude: 116.6E

- Altitude: 62m

- Summer Temperature: Mean 26° C , Extreme Maximum >40° C

- Winter Temperature: Mean -4° C, Extreme Minimum -20° C

- Precipitation: 500mm

- Nearest Cities: Huairou 10kms, Beijing 60kms

- Telescope Instrument

60cm Solar 3Channel Telescope is a vacuum Gregorian reflector equipped with the unique Multi-Channel Filter and can simultaneously obtain 3 images, vector magnetic field by measuring 3 spectral lines produced at various altitudes of solar atmosphere. The selected 3 spectral lines are MgI5173Å 、FeI5247Å 、5250Å。

Primary mirror

Diameter 600mm, F-ratio=F/2.5

Secondary mirror

Diameter 154mm

Effective Focal Length

6000m (with Multi-Channel Filter), 12000mm (without filter)

Sensitivity

± 1gauss for longitudinal filed 
± 50 gauss for transverse field

Temporal Resolution

0.5 ~ 10 min

Spectral Resolution

0.05Å

Bandwidth

0.092Å at 5173.699Å 
0.048Å at 5247.063Å 
0.048Å at 5250.211Å

3.DATA

The raw data format got by the 60cm Solar 3Channel Telescope is FIT, and the corresponding JPG picture is created by the related program from FIT. Only JPG datas are tranformed to the directory.