Huairou Solar Observatory Station

1.INTRODUCTION

Huairou Solar Observing Station (HSOS) is located on an small island near the north bank of Huairou Reservoir, 60 kms north of the downtown of Beijing. The water surrounded the station extend about 2 kms to the east, south and west of the observing tower. The observing dome is on the top of a 31-meter-high tower. The HSOS's telescope is characterized by its movable dome, which can be shifted away from the telescope when the seeing is favorable. The surrounding water reduces the temperature fluctuation at the telescope height, which is favorable for high resolution solar observing. The annual observation days are about 300.

- Latitude: 40.4N

- Longitude: 116.6E

- Altitude: 62m

- Summer Temperature: Mean 26° C , Extreme Maximum >40° C

- Winter Temperature: Mean -4° C, Extreme Minimum -20° C

- Precipitation: 500mm

- Nearest Cities: Huairou 10kms, Beijing 60kms

- 2.INSTRUMENT

- 20cm Full-Disc Hα Telescope

Objective

Diameter 200mm

Focal length 1800mm

Field Of View

32' x 32'

Spectral lines

6562.81Å

Birefringent Filter

Bandwidth 1/4Å

tunable range (-2Å ~ +2Å )

CCD

Size:20332 x 2040 pixels

Pixel size 1" x 1"

Temporal resolution

1 sec

Spatial resolution

Better than 2"

- 3.DATA

- There are nine raw datas collected by the 20cm Full-Disc Hα Telescope. The format is FIT, with the help of program , these datas are matched to create two JPG pictures, the JPG is not corresponding to the FIT one by one. These datas are transformed to the directory meanwhile.